## St.36
ITEMS |  | Actuals |  |  |  |  | RE | BE
|  | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | PHYSICAL PARAMETERS
1.1 | INSTALLED CAPACITY(MW):
A | Hydro | 35.7 | 35.7 | 35.7 | 35.7 | 35.7 | 35.7 | 35.7
B | Thermal - Coal Fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | Others (Diesel) | 5 | 5 | 5 | 5 | 5 | 5 | 5
| TOTAL (1.1A+1.1B+1.1C+1.1D) | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7
1.2 | ENERGY GENERATED (MKWH)
A | Hydro | 40.21 | 71.97 | 66.14 | 37.42 | 34.6 | 56.5 | 59
B | Thermal - Coal Fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | Others (Diesel) | 0.32 | 0.48 | 0.31 | 0.21 | 0.12 | 0.15 | 0.2
| TOTAL (1.2A+1.2B+1.2C+1.2D) | 40.53 | 72.45 | 66.45 | 37.63 | 34.72 | 56.65 | 59.2
1.3 | AUX. CONSUMPTION (MKWH):
A | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | Thermal - Coal Fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | Others | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL (1.3A+1.3B+1.3C+1.3D) | 0.21 | 0.9 | 0.75 | 0.17 | 0.17 | 0.25 | 0.3
1.4 | Energy Generated - Net of Aux. Consumption (1.2-1.3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.5 | Energy Purchased(Mkwh) Other Than Ipps & Captive Power | 40.32 | 71.55 | 65.7 | 37.46 | 34.55 | 56.4 | 58.9
1.6 | Energy Purchased(Mkwh) - Ipps | 120.7 | 130.22 | 174.21 | 274.58 | 275.65 | 259.16 | 256
1.7 | Energy Purchased(Mkwh) - Captive Power | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.8 | Energy Available For Sale(Mkwh) (1.4+1.5+1.6+1.7) | 161.02 | 201.77 | 239.91 | 312.04 | 310.2 | 315.56 | 314.9
1.9 | Energy Sold (Mkwh) (Details In Ann. 1) | 73.27 | 100.06 | 158.1 | 208.67 | 211.93 | 218.25 | 220.8
1.1 | T&D Losses(Mkwh) (1.8-1.9) | 87.75 | 101.71 | 81.81 | 103.37 | 98.27 | 97.31 | 94.1
1.11 | T&D Losses (%) (1.10/1.8*100) | 54.4963 | 50.4089 | 34.1003 | 33.1272 | 31.6796 | 30.8372 | 29.8825
2 | TRANSMISSION NETWORK (CKT) (Please see Note 1 below):
| ---- KV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ---- KV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ---- KV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 132 KV in KM | 0 | 0 | 0 | 0 | 44.00 KV | 0 | 0
| 66 KV in KM | 0 | 0 | 0 | 0 | 267.39 KV | 0 | 0
| ---- KV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | DISTRIBUTION NETWORK (CKT) Please see Note 1 below):
| 11 KV in KM | 0 | 0 | 0 | 0 | 2710 KVA | 0 | 0
| 0.415 KV in KM | 0 | 0 | 0 | 0 |  | 0 | 0
| TOTAL | 0 | 0 | 0 | 0 |  | 0 | 0
4 | RURAL DISTRIBUTIONWORK:
| Total Length (Ckt) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total No. of Transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total No. of Villages | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total No. of Villages Electrified As Per Old Policy of GOI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| % of Villages Electrified As Per Old Policy of GOI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total No. of Villages Electrified As Per New Policy of GOI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| % of Villages Electrified As Per New Policy of GOI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| % of Households Electrified In Rural Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total No. of Rural Consumers Excl. Pump Sets | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | METERING:
| % of Metering - 11 Kv Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0
| % of Consumer Metering | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | AVG. COST OF POWER RECD./KWH AS STATE'S SHARE FROM :
| Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Thermal - Coal Fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Others | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes
1 | The details of the transmission and distribution network should be as per the voltages being used in the State.